THE TELESCOPE OF THE 7TH INTERNATIONAL OLYMPIAD ON ASTRONOMY & ASTROPHYSICS

SkyWatcher 150/750 Black Diamond EQ3-2

SPECIFICATIONS

The telescope of the 7th International Olympiad on Astronomy & Astrophysics

will be a Newtonian reflector telescope on equatorial mount

constructed by the SkyWatcher company.

SUMMARY

- Type: Reflector telescope

- Optical design: Newtonian

- Diameter: 150 mm (5.91″) (parabolic)

- Focal length: F 750 mm

- Focal Ratio: f / 5

- Focuser: rack and pinion type (with 1.25″ adapter)

- Mount: EQ3-2 Equatorial with 2 knobs for manual

movement in RA and Dec and calibrated position

circles.

- Tripod: Aluminum legs with adjustable height

(71–123 cm) and leveling bubble

- Finder: achromatic 6×30 (inverted image)

- Eyepieces: SUPER Plossl 25mm (30×) WA, LE

and SUPER Plossl 10mm (75×), Ø31.8mm

- Barlow: 2×, achromatic

- Maximum Usable Magnification: 300 ×

- Minimum Star Magnitude Size: mV = 13.6

- Theoretical Resolution: 0.8 arc sec